## Slide 1: A Narrow Linewidth Laser for Atomic Physics
Chung You Shih
Advisor: Dr. Ming-Shien Chang

## Slide 2: Outline
Introduction
Design
Measurement
Frequency locking
Conclusion & Future Work

## Slide 3: Introduction to ECDL
What is ?
E
C
D
L
xternal
avity
iode
aser

## Slide 4: Diode Laser for Atomic Physics
Pros
Cons
high efficiency
compact
inexpensive
wider linewidth
almost maintenance-free
Very stable

## Slide 5: External Cavity
select central frequency
Narrow laser linewidth
Schawlow-Townes Linewidth:
Surface Grating
Volume Holography Grating
Color Filter

## Slide 6: Purpose – Cold Atom Physics
Probe atoms
laser cooling
Coherent control on atomic states
optical trap (detuned)

## Slide 7
Idea: Monolithic cavity design
1.high heat capacity
2.good heat conductivity
temperature control
Mechanical Stability

## Slide 8: Littrow configuration
Grating equation:
m=1, for optical feed back
m=1
optical feed back
m=0 for beam output
(law of reflection)
m=0
beam output
The grating is always parallel to the mirror.
No angle shift
Δ𝑥=2𝑙Δ𝜃

## Slide 9: Threshold Current

## Slide 10: Free running
the same period
<10mk

## Slide 11
<5mk

## Slide 12
vapor cell
PBS
ECDL
optical isolator
wave meter
/2
/4
PD
Lock-in-Amplifier
PID
coil
250kHz

## Slide 14
Positive
Negative
vz=0
Doppler Borden
(Gaussian)
Nature
(Lorentzian)
vapor cell

## Slide 15
Rb-87 D2 Line

## Slide 16
/4
Linear
Circular
vapor cell

## Slide 17
Lock-in Amplifier: Multiplier + Low Pass Filter
vapor cell
Lock-in-Amplifier
PID
250kHz

## Slide 18
<3MHz

## Slide 19: Conclusion
Monolithic cavity design
Laser stability study
Saturation spectroscopy
Laser frequency stabilization

## Slide 20: Future Work
Linewidth measurement
Frequency locking optimization
Laser cooling

## Slide 21: Acknowledgement
Lab 107 &
Dr. Ming-Shien Chang

## Slide 22: Mode-Hop-Free Tuning Range 1.7GHz